## Sheet1 (3)
Well Disinfection Chlorine Concentration Calcualtor
| Enter the Following Information Below: |  | Units |  | Tips:
1 | Well Depth: |  | feet | 1. | If you don't know the depth of your well or static water level, search the Well Completion Report Searchable Database using your location or well tag number.
2 | Depth to Static Water Level: |  | feet | 2. | If you don't know the depth to water and your well is less than 400 feet deep, enter 0. Contact the Drinking Water Program at 802-489-7339 or email AHS.VDHDrinkingWaterProgram@vermont.gov if your well is greater than 400 feet deep.
3 | Well Diameter: |  | inches | 3. | Drinking wells are typically 6 inches in diameter. You can confirm with a tape measure.
4 | Bleach Concentration: |  | % | 4. | Standard bleach concentrations are between 5% and 9%. Be sure to confirm the concentration of the bleach you use by checking with the label or manufacturer.
| Calculated Results: |  |  |  | If you add the indicated amount of bleach to your well, the water in your well will have a concentration of 100 ppm (parts per million) chlorine.
| Volume of water in well (gallons): | 0 | gallons |  | Tips:
| Amount of Bleach to Use: | 0 | gallons |  | Calculated results for drilled wells typically do not exceed 2 gallons of bleach. If your calculated results exceed 2 gallons, contact the Drinking Water Program or a licensed well driller before disinfecting your well.
|  | 0 | cups |  | You may round up to the nearest cup. Do not round up for gallons. Use either the cup OR gallon calculation based on what is more appropriate for your well.
|  | Return to | Vermont Department of Health Well Disinfection website.
Additional Notes on Working with Bleach:
1. Use caution when handling bleach. We strongly recommend wearing rubber gloves and eye protection.
2. Use only unscented bleach without any detergents or additives.
3. Chlorine products have a shelf life. Do not use expired bleach.
You may use specialty chlorine indicator strips to test the chlorine concentration with an indoor faucet during the disinfection process.
5. Correct use of this calculator will result in a 100 ppm chlorine solution, which is recommended for the first disinfection attempt. For additional attempts you may double the amount of bleach resulting in a 200 ppm chlorine solution. Do not exceed a 200ppm chlorine solution as it may damage the well, water treatment or plumbing components.